## SVsummary-3xTucker
Dataset | Date | CSI_number | Tip_scheme | Apod_Hz | max_delta_LW_pct_apod | SpecSV_apod | SpatSV_apod
1 | 2015-08-14 | 2 | Unequal | 100
2 | 2015-10-06 | 1 | Unequal | 100
3 | 2015-11-17 | 1 | Equal | 100
4 | 2015-11-17 | 2 | Unequal | 100
5 | 2015-11-17 | 3 | Equal | 100
6 | 2018-02-06 | 2 | Unequal | 100
7 | 2018-03-03 | 2 | Unequal | 100
8 | 2018-11-07 | 7 | Unequal | 100
9 | 2018-11-30 | 2 | Unequal | 100
10 | 2018-11-30 | 4 | Unequal | 100
Rerun?

## SV-results-3xTucker
NOTE: All of these do the following:
1) denoise on non-apodized data by truncating to 1/2 spec SV length (use specified spatial SV)
2) 100 Hz apodization
3) denoise with main parameters
4) de-apodize by 100 Hz
5) denoise with main parameters
6) apodize to match comparison spectra
2015-11-17 | c13_csi2d_8x8_GLC_25_3_01.fid
2015-11-17 | c13_csi2d_8x8_GLC_25_3_02.fid
|  | ^Same drift-down seen with multiTucker! Due to splitting of CO2 peak in bottom-right tube | ^No, more spectral didn't help….
-Probably another spectral SV will help?
2015-11-17 | c13_csi2d_8x8_GLC_25_3_03.fid
2018-02-06 | c13_csi2d_8x8_GLC_25_3_02.fid
2018-03-03 | c13_csi2d_8x8_GLC_25_3_02.fid
^Pretty much the same as the multiTucker!
^VERY similar to multiTucker denoise!! 4 spectral + 3 spatial may be a fluke - seems like max is really at 7 spectral, which multiTucker got
(w/ higher SNR:)

## SV-results-multiTucker
NOTE: All of these use 100 Hz apodization, in 4 steps of 25 Hz, with the spectral SV dimension decreasing from 4*initial -> 3*initial -> 2*initial -> initial with each step
2015-11-17 | c13_csi2d_8x8_GLC_25_3_01.fid
2015-11-17 | c13_csi2d_8x8_GLC_25_3_02.fid
^Whoa! Problem is bottom-right tube - split CO2 peak! pH is getting underestimated (6.34 -> 6.15) - maybe BiC peak is too small? >
2015-11-17 | c13_csi2d_8x8_GLC_25_3_03.fid
2018-02-06 | c13_csi2d_8x8_GLC_25_3_02.fid
2018-03-03 | c13_csi2d_8x8_GLC_25_3_02.fid
(different run, lower starting SNR:)

## invivo-MS494_3xTucker
All are spatially zerofilled 2x, to 16x16 | [14 empty] | Deletions:
[12 empty] | BiC | CO2 | BiC | CO2 | A | B | C
Spectral deletions | Apodization (Hz) | Align spectra? | New spectral regions defined? | Spectral SVs | Spatial SVs | dpH, high-grade |  |  | dpH, low-grade |  |  | upSNR, high-grade |  | upSNR, low-grade
None | 10 | N | N | 3 | 8 | 0.1335 | ± | 0.0696 | -0.1185 | ± | 0.0434 | 3.2689 | 2.4253 | 1.5577 | 2.2371
None | 10 | Y | N | 3 | 8 | 0.1888 | ± | 0.0827 | -0.0422 | ± | 0.0179 | 2.9649 | 2.102 | 1.1108 | 1.5618
None | 10 | N | Y | 3 | 8 | 0.1685 | ± | 0.0773 | -0.0648 | ± | 0.0455 | 3.1983 | 2.3783 | 1.4394 | 2.068
None | 10 | Y | Y | 3 | 8 | 0.2556 | ± | 0.0834 | 0.033 | ± | 0.0129 | 3.0272 | 2.1582 | 1.112 | 1.6486
None | 50 | N | N | 3 | 8 | 0.1125 | ± | 0.0754 | -0.0737 | ± | 0.035 | 3.0943 | 2.4069 | 1.4061 | 1.7921
None | 50 | N | Y | 3 | 8 |  | ± |  |  | ±
None | 50 | Y | Y | 3 | 8 |  | ± |  |  | ±
None | 100 | N | N | 3 | 8 | 0.1173 | ± | 0.0676 | -0.0863 | ± | 0.022 | 3.2215 | 2.4876 | 1.2748 | 1.7263
None | 100 | N | Y | 3 | 8 |  | ± |  |  | ±
None | 100 | Y | Y | 3 | 8 |  | ± |  |  | ±
None | 100 | Y | N | 3 | 8 | 0.1875 | ± | 0.0836 | -0.1311 | ± | 0.0409 | 2.3465 | 1.6591 | 1.3386 | 1.7363
A | 10 | N | N | 3 | 8 | 0.0767 | ± | 0.0473 | -0.1267 | ± | 0.0174 | 3.5617 | 2.8694 | 1.4776 | 2.204
A | 10 | Y | N | 3 | 8 |  | ± |  |  | ±
A | 50 | N | Y | 3 | 8 |  | ± |  |  | ±
A | 50 | N | N | 3 | 8 | 0.0874 | ± | 0.0495 | -0.0631 | ± | 0.0356 | 3.5546 | 2.7895 | 1.3592 | 1.6343
A | 50 | Y | Y | 3 | 8 |  | ± |  |  | ±
A | 50 | Y | N | 3 | 8 | 0.1511 | ± | 0.0599 | -0.0496 | ± | 0.0266 | 2.1666 | 1.7427 | 1.4157 | 1.5619
A | 100 | N | N | 3 | 8 | 0.1248 | ± | 0.0607 | -0.0945 | ± | 0.0216 | 3.5948 | 2.7068 | 1.2894 | 1.8317
A | 100 | Y | Y | 3 | 8 |  | ± |  |  | ±
A | 100 | N | Y | 3 | 8 |  | ± |  |  | ±
A | 100 | Y | N | 3 | 8 | 0.1482 | ± | 0.1013 | -0.1168 | ± | 0.0104 | 2.1384 | 1.6744 | 1.4133 | 1.865
A | 200 | Y | Y | 3 | 8 |  | ± |  |  | ±
B | 10 | Y | N | 3 | 8 |  | ± |  |  | ±
B | 10 | N | N | 3 | 8 |  | ± |  |  | ±
B | 50 | N | N | 3 | 8 | 0.1836 | ± | 0.0514 | 0.0127 | ± | 0.0449
B | 50 | Y | N | 3 | 8 |  | ± |  |  | ±
B | 50 | Y | Y | 3 | 8 |  | ± |  |  | ±
B | 100 | Y | Y | 3 | 8 |  | ± |  |  | ±
C | 10 | Y | N | 3 | 8 |  | ± |  |  | ±

## things-I-tried
Thing I tried: | Rationale | Problem(s) | Other Notes
Noise conditioning: after apodization but before denoising, add back random noise to restore to Gaussian characteristics | Gaussian noise easier to remove via denoising | -Adding in noise to apodized dataset significantly reduces SNR, prevents algorithm from identifying peaks
Double-denoise: apodize (100 Hz), denoise, de-apodize (to return noise to be closer to Gaussian), denoise again | Apodize to minimize rank, denoise to reduce to simple lineshape, then de-apodize to get more noise out! | -Spectral SV rank was LARGER, not smaller! My guess is that the apodized, non-white noise was getting more entangled in w/ peaks | Tried a little bit to use different denoising params for each denoising step, but didn't work well…
Gaussian apodization, rather than exponential | Less baseline broadening, which leads to weird phase issues b/w BiC and CO2 in apodized magnitude spectra | -If it provided any benefit, it wasn't significant; the out-of-phase appearance is likely not a concern
Multi-denoise: apodize-denoise in increments, leading up to 100 Hz, then de-apodize and denoise one last time | Apodizing in steps allows you to remove noise better, while apodizing allows you to get similar line shapes across space | -(speculative problem) Denoising the same at each step might remove too much information from peak! | Used 4 apodize-denoise increments (25 Hz each) - reduces spectral rank!
Progressive multi-denoise: apodize-denoise in increments, with more aggressive denoising in each step, leading up to 100 Hz, then de-apodize and denoise one last time | Same as multi-denoise above; progressively aggressive denoising as lineshape gets broadened out should minimize information loss |  | Used 4 apodize-denoise increments (25 Hz each), went from 4x spectral in 1st denoise to 1x spectral in 4th denoise. Reduces spectral rank! Spatial rank also decreased. Also, 95% SNR decreased from >5 --> 3!
Triple-denoise: denoise to 32 spectral SV (= 1/2; use same spatial SV parameters throughout), then do double-denoise as listed above | Same as double-denoise; address issues by removing more Gaussian noise before apodizing, to better represent apodized peaks |  | Seems to work just as well as progressive multi-denoise, if not BETTER! VERY similar SV test results - could it be that the 1st denoise step in the progressive multi-denoise makes the biggest difference??

## apod-deapod-investigation
On MS494 dataset, looking at apodization + deapodization effects, w/ or w/o denoising steps
Steps: denoise 1 -> apod -> denoise 2 -> deapod -> denoise 3
(dpH vs original)
Deletions | Apod amt (Hz) | Origapod | Denoise 1? | Apod? | Denoise 2? | Deapod? | Denoise 3? | New integral bounds? | dpH, low | dpH, high
N | 10 |  | N | Y | N | Y | N | N | 0 | 0
A | 10 |  | N | Y | N | Y | N | N | -0.0179 | -0.0042
N | 100 |  | N | Y | N | Y | N | N | 0 | 0
N | 100 |  | N | Y | N | N | N | N | -0.0511 | -0.0786
N | 100 |  | N | Y | N | N | N | Y | 0.0161 | -0.0502
A | 100 |  | N | Y | N | N | N | Y | -0.0504 | -0.1013 | Deletions really mess up the quantification!! Might be messing up the overall amplitude of the FID…
A | 200 | 0 | N | Y | N | Y | N | N | 0 | 0

## SV-results-2xdenoise-LAME
NOTE: All of these use 100 Hz apodization
2015-11-17 | c13_csi2d_8x8_GLC_25_3_01.fid
^The leftmost voxel was the problem! The CO2 is way smaller than the BiC, so the pH swings a lot with inaccuracy on CO2 (even at high SNR, no denoising!)
2015-11-17 | c13_csi2d_8x8_GLC_25_3_02.fid
^Spectra are from bottom-right tube (lowest SNR peak; notice CO2 is split)
2015-11-17 | c13_csi2d_8x8_GLC_25_3_03.fid
^Both the left tube and bottom right tube were struggling to get good pH
^Bottom-right tube is the problem

## SVsummary-2xTucker
Dataset | Date | CSI_number | Tip_scheme | Apod_Hz | max_delta_LW_pct_apod | SpecSV_apod | SpatSV_apod
1 | 2015-08-14 | 2 | Unequal
2 | 2015-10-06 | 1 | Unequal
3 | 2015-11-17 | 1 | Equal | 100 | 16 | 12 | 3
4 | 2015-11-17 | 2 | Unequal | 100 | 24 | 6 | 4
5 | 2015-11-17 | 3 | Equal | 100 | 16 | 15 | 4
6 | 2018-02-06 | 2 | Unequal | 100 |  | 12 | 4
7 | 2018-03-03 | 2 | Unequal
8 | 2018-11-07 | 7 | Unequal
9 | 2018-11-30 | 2 | Unequal
10 | 2018-11-30 | 4 | Unequal
Rerun?

## double-denoise_exploration
11/17/15 dataset, shot 1 | Denoise 2x (exponential correction inbetween), using same truncation parameters BOTH TIMES
100 Hz apodization: |  |  | 50 Hz apodization:
^Similar results on 2/6/18 dataset! High spectral
100 Hz apod, but using 3 spectral + 6 spatial on 1st time:
Doesn't perform well for any combination of parameters for 2nd denoise, really…
<Why is BEFORE denoising so bad too??
^Actually, it's similar to previous results in other spreadsheet